## Slide 1
AI-Based Hand Fracture Detection
Data Preparation and Advanced MobileNet Model
Progress Presentation
Department of CSE, NMAMIT

## Slide 2
Project scope and completed work
Goal: assist preliminary fracture assessment from hand and wrist X-rays.
The dataset now combines cleaned FracAtlas images with labelled wrist X-rays.
Patient-safe splitting keeps paired wrist views in one data split.
The advanced MobileNet model has completed training and testing.
Current Scope
Hand and Wrist Classification
Notes: [Sources]
- Project synopsis and locally completed implementation workflow.

## Slide 3
Two labelled sources support the final dataset
FracAtlas supplied the original hand and upper-extremity subset.
Manual review removed 41 unsuitable fractured images.
The Mendeley wrist dataset added 111 fractured and 82 normal X-rays.
The original source folders remain available for traceability.
Dataset Sources
FracAtlas and Mendeley
Notes: [Sources]
- FracAtlas local dataset and dataset.csv.
- Wrist Fracture - X-rays, Mendeley Data: https://data.mendeley.com/datasets/xbdsnzr8ct/1

## Slide 4
Cleaning produced a larger, better-controlled dataset
Final Dataset
1,690 X-ray images
Class Distribution
510 fractured
1,180 non-fractured
Manual Review
41 unsuitable images removed
Added Wrist Data
111 fractured
82 normal
Notes: [Sources]
- hand_dataset.csv and image-quality inspection produced in the local project.

## Slide 5
Preparation created reproducible patient-safe splits
Standardization
Grayscale
224 × 224 pixels
Patient-Safe Split
Paired A and L views kept together
Training
1,182 images
Validation and Test
254 validation
254 test
Notes: [Sources]
- prepare_hand_dataset.py and generated split CSV files.

## Slide 6
Advanced MobileNetV3 training
MobileNetV3-Large started with pretrained image features.
The final six feature blocks were fine-tuned at a low learning rate.
Balanced sampling and controlled augmentation addressed class imbalance.
Learning-rate scheduling and validation F1 selected the best checkpoint.
Advanced Model
15 Epochs Maximum
Notes: [Sources]
- train_advanced.py in the local project.

## Slide 7
Advanced MobileNet improved overall test performance
Test accuracy: 87.80%
Fracture precision: 87.10%
Fracture recall: 70.13%
Fracture F1-score: 77.70%
54 of 77 fractures detected. 23 fractures were missed.
169 of 177 non-fractures were correct. 8 false alarms occurred.
Best Checkpoint
Epoch 15
Notes: [Sources]
- model_output_advanced/test_metrics.json.

## Slide 8
Training and validation accuracy
Notes: Source: model_output_advanced/training_history.csv

## Slide 9
Training and validation error
Notes: Source: model_output_advanced/training_history.csv

## Slide 10
Advanced model confusion matrix
54 fractures detected, 23 missed, 8 false alarms, and 169 correct non-fracture predictions
54 fractures detected, 23 missed, 8 false alarms, and 169 correct non-fracture predictions
Notes: Source: model_output_advanced/test_metrics.json. Rows show actual class and columns show predicted class.

## Slide 11
Recorded model test metric comparison
Notes: Sources: model_output_balanced_before_extra_data/test_metrics.json and model_output_advanced/test_metrics.json. The models used different cleaned dataset versions, so this chart reports recorded results rather than a controlled architecture-only comparison.

## Slide 12
Improvements made after the first balanced model
Dataset Quality
Removed 41 unsuitable images
Added both fracture and normal wrist data
Safer Evaluation
Kept paired patient views
in the same split
Model Changes
MobileNetV3-Small to Large
8 epochs to 15 epochs
Measured Improvement
Accuracy: 79.57% to 87.80%
F1-score: 61.79% to 77.70%
Notes: [Sources]
- Local preprocessing and training scripts.
- Original balanced test metrics and advanced model test metrics.

## Slide 13
Conclusion
The advanced model reached 87.80% test accuracy
and a 77.70% fracture F1-score
Next: reduce missed fractures
and validate on an independent clinical dataset
Notes: [Sources]
- Conclusion based on local held-out test evaluation.